## Slide 1: ECG BLE Mechanical Requirement
09-April-2020

## Slide 2: Old board design
PCB Top
PCB Bottom

## Slide 3: Old board design

## Slide 4: New board requirement
PCB Diameter 42mm

## Slide 5: New board requirement
PCB Diameter 42mm
Opening required for casing in
The dotted areas
Note: Temperature sensor to be added and yet to plan
on the position.

## Slide 6: New board requirement
PCB Diameter 42mm
Opening for Micro B USB
Connector
Note: Yet to decide on USB connector position

## Slide 7: New board requirement
Note: Yet to decide the electrode part
3 Electrodes will be mounted in
the dotted region.
Something similar to this.
PCB Diameter 42mm

## Slide 8: New board requirement
PCB
Note: Yet to decide the electrode part
On board connector
PCB mount
Mating electrode
Bottom view

## Slide 9: New board requirement
Over all product looks like a Shoe
Polish tin. Something like this with
the electrode stickers, which will
have contact with Human body.
Bottom view with no electrode mounted
Bottom view with electrode mounted
RA
LA
RL/LL
RA
LA
RL/LL